## Slide 1: Primary Results From the Evolut Low Risk Trial
Michael J. Reardon, MD, FACC
Houston Methodist DeBakey Heart & Vascular Institute, Houston, TX For the Evolut Low Risk Trial Investigators

## Slide 2: Disclosure Statement of Financial Interests
Within the past 12 months, I have had a financial interest/arrangement or affiliation with the organization(s) listed below.
Financial Relationship | Company
Consultant (fees paid to institution) | Medtronic
Medtronic personnel performed all statistical analyses and assisted with the graphical display of the data presented. | 

## Slide 3: Background
We performed a series of randomized controlled trials in patients with severe aortic stenosis across a spectrum of surgical risk.
In high-risk patients, TAVR was superior to SAVR for the primary endpoint to 2 years1 and similar at 5 years.2
1Reardon et al. J Am Coll Cardiol 2015; 66: 113-21; 2Gleason, et al. J Am Coll Cardiol 2018; 72: 2687-96.

## Slide 4: Background
Chart: Months Post-Procedure
Chart: Months Post-Procedure
Death or Disabling Stroke (%)
Interim Analysis from the SURTAVI Trial1
2Popma JJ, et al. Presented at TCT 2018.
TAVR | 864 | 755 | 612 | 456 | 272
SAVR | 796 | 674 | 555 | 407 | 241
Final Analysis from the SURTAVI Trial2
TAVR | 864 | 840 | 786 |  | 663
SAVR | 796 | 761 | 698 |  | 583
Death or Disabling Stroke (%)
The SURTAVI intermediate risk trial showed noninferiority at interim analysis.
The final analysis of the SURTAVI Trial confirmed the early Bayesian results, showing TAVR noninferior to SAVR.
1Reardon MJ, et al. NEJM 2017; 376:1321-31.
Notes: Showed that our early analysis was confirmed when all patients had 2-year follow-up…script -Focus on the numbers at risk –since we are showing KM curves – isn’t this about the fact that when the full cohort completed 2-year follow-up – the results were similar? Should we only report the KM rates?

## Slide 5: Objective
To assess the safety and efficacy of TAVR with the Evolut self-expanding supra-annular valve compared with surgical AVR in patients with a low predicted risk of 30-day surgical mortality.

## Slide 6: Study Administration
Principal Investigators: Jeffrey Popma, Michael Reardon
Executive Committee: Jeffrey Popma, Michael Reardon, G. Michael Deeb, Steven Yakubov
Steering Committee: David Adams, Stan Chetcuti, G. Michael Deeb, John Forrest, Thomas Gleason, John Heiser, William Mehri, Mubashir Mumtaz, Daniel O’Hair, Nicolo Piazza, Joshua Rovin, Michael Reardon, Paul Sorajja, Didier Tchétché, Paul Teirstein, Antony Walton, Steven Yakubov, George Zorn III
Screening Committee: G. Michael Deeb (Chair), Thomas Gleason, Jeffrey Popma, Michael Reardon, Steven Yakubov
Echo Core Laboratory: Jae Oh, Mayo Clinic, Rochester, MN
Data & Safety Monitoring Board: Baim Institute for Clinical Research; David Faxon (Chair), William Holman, John Lopez, Scott Kasner, John Orav
Clinical Events Committee: Baim Institute for Clinical Research; Claudia Hochberg (Chair), Cliff Berger, Torin Fitton, Sergio Waxman, Scott Bortman, Carey Kimmelstiel, David Grossman, Manish Chauhan, Jeffrey Veluz, Robert Rodriguez, Sanjay Samy, Gregory Smaroff, Jonathan Waks, Daniel Kramer
Statistical Design and Analyses: Andrew Mugglin, Paradigm Biostatistics, LLC
Sponsor: Medtronic

## Slide 7
Johns Hopkins, MedStar Union, & Univ. of Maryland MC
The Mount Sinai MC
Bon Secours Heart & Vascular Institute
St. Francis Hospital
Mass General
Abbott NW
Medical Univ. of South Carolina
Beth Israel Deaconess
North Shore Univ. Hospital
Univ. Vermont MC
Mercy Medical Ctr
Morton Plant
Baylor Heart & Vascular
Methodist Debakey & Baylor College of Medicine
Loyola
St. Lukes/Aurora
Univ. of Colorado Hospital
Piedmont Heart Institute
Wake Forest Baptist MC
Scripps Hospital
Case MC
Univ. of Pittsburgh
Riverside Methodist & OSU
St. Vincent
Vanderbilt
Univ. of Kansas
Jewish Hospital
El Camino
Winchester MC
Univ. of Michigan
Duke Univ.
Integris Baptist MC
Swedish MC
Univ. of Miami
Yale New Haven Hospital
St. John Hospital
Mercy Hospital
Sanford MC
CV Institute of the South
Univ. of Utah
Oregon Health & Science Univ.
Good Samaritan
Tallahassee Research Institute
Abrazo Arizona Heart Hospital
Lee Memorial Health System
Delray Medical Center
Baystate MC
Methodist Hospital
Los Robles Hospital
Keck Hospital
Spectrum Health
Mercy General Hospital
St. Joseph’S Hospital
Participating Sites in the United States
Strong Memorial
U Pittsburg Pinnacle Health
Geisinger MC
Lehigh Valley Hospital

## Slide 8
Waikato Hospital
The Alfred Hospital & MonashHeart
St. Vincent’s Hospital
Fiona Stanley Hospital
Royal North Shore
Sakakibara Heart Institute
Sendai Kousei Hospital
Kokura Memorial Hospital
Osaka General Hospital & NCCC
Sapporo Higashi Taoushukai Hospital
Shonan Kamakura General Hospital
Jacques Cartier
Clinique Pasteur
CHRU de Lille
Erasmus
Catherina Hospital
St. Antonius Hospital
McGill University & Montreal Heart Institute
Toronto General Hospital, Sunnybrook Health & London Health Sciences
IUCPQ
Australia, Canada, Europe, Japan and New Zealand

## Slide 9: Study Design

## Slide 10: Study Endpoints
Primary Safety and Effectiveness Endpoint
All-cause mortality or disabling stroke at 2 years
Noninferiority
Mean gradient at 1 year
EOA at 1 year
Change in NYHA class from baseline to 1 year
Change in KCCQ score from baseline to 1 year
Superiority
Mean gradient at 1 year
EOA at 1 year
Change in KCCQ score from baseline to 30 days
Hierarchical Powered Secondary Endpoints
Other Secondary Endpoints
30-day safety composite of
  All-cause mortality
  Disabling stroke
  Life-threatening bleeding
  Major vascular complications
  Stage 2 or 3 acute kidney injury
New pacemaker implantation at 30 days
Heart failure rehospitalizations at 1 year
Aortic-valve reintervention at 1 year
Moderate/severe AR at 1 year
All stroke at 1 year
Life-threatening bleeding at 1 year

## Slide 11: Key Inclusion Criteria
Symptomatic severe AS1:
Aortic valve area ≤1.0 cm² (or aortic valve area index <0.6 cm2/m2), OR mean gradient ≥40 mmHg OR Vmax ≥4 m/sec at rest
Asymptomatic very severe AS1:
Aortic valve area ≤1.0 cm² (or aortic valve area index <0.6 cm2/m2), AND Vmax ≥5 m/sec or mean gradient ≥ 60 mmHg at rest
Aortic valve area of ≤1.0 cm2 (or aortic valve area index of ≤0.6 cm2/m2), AND a mean gradient ≥40 mmHg or Vmax ≥4.0 m/sec by transthoracic echocardiography at rest, AND an exercise tolerance test that demonstrates limited exercise capacity, abnormal BP response, or arrhythmia
Aortic valve area of ≤1.0 cm2 (or aortic valve area index of ≤0.6 cm2/m2), AND mean gradient ≥40 mmHg, OR Vmax ≥4.0 m/sec by transthoracic echocardiography at rest, AND LVEF<50%.
A predicted risk of 30-day mortality <3% per multidisciplinary local heart team assessment.
1Nishimura RA, et al. Circulation. 2014;129:2440-92.

## Slide 12: Key Exclusion Criteria
Contraindication for placement of a bioprosthetic valve
Multivessel coronary artery disease with SYNTAX score >22
Bicuspid aortic valve verified by imaging
Hypersensitivity or contraindication to all anticoagulation/ antiplatelet regimens
Any PCI or peripheral intervention within 30 days prior to randomization
Symptomatic carotid or vertebral artery disease or successful treatment of carotid stenosis within 10 weeks of Heart Team assessment
Recent (within 2 months) cerebrovascular accident or transient ischemic attack
Acute MI within 30 days
Severe liver, lung or renal disease
Unsuitable anatomy including native aortic annulus <18 mm or >30 mm
Severe mitral or tricuspid regurgitation

## Slide 13
Chart: 
*Selected to maintain α < 0.05
Noninferiority margin
(6%)
Posterior Distribution of the Difference
(TAVR rate – SAVR rate)
Statistical Methods
Noninferiority Testing of the Primary Endpoint
This was a randomized, multinational, noninferiority trial.
The Bayesian adaptive design prespecified an “early-win” interim analysis when 850 patients reached 1-year follow-up.
The estimated sample size was 1200 patients.
The 2-year primary analysis cohort comprised all patients with an attempted implant procedure (as-treated).
The prespecified criteria for success was posterior probability >0.972.
Area > 0.972*

## Slide 14: Patient Flow
*Additional patients were randomized to permit completion of the LTI substudy and to enroll a Japanese cohort.

## Slide 15
First Patient Randomized Mar. 28, 2016
*Last Patient Randomized Nov. 27, 2018
Primary Endpoint Assessment Dec. 27, 2018
CoreValve 31 mm
*For this analysis
Evolut PRO: 23, 26, 29 mm
Evolut R: 23, 26, 29
Added Evolut R 34 mm
Vascular access
99% transfemoral
0.6% subclavian
0.4% direct aortic
2016 | 2017 | 2018
CoreValve 31 = 3.6% | Evolut R = 74.1% | Evolut PRO = 22.3%
Study Timeline and Valves Studied

## Slide 16: RESULTS

## Slide 17: Baseline Characteristics
Mean ± SD or % | TAVR (N=725) | SAVR (N=678)
Age, years | 74.1 ± 5.8 | 73.6 ± 5.9
Female sex | 36.0 | 33.8
Body surface area, m2 | 2.0 ± 0.2 | 2.0 ± 0.2
STS PROM, % | 1.9 ± 0.7 | 1.9 ± 0.7
NYHA Class III or IV | 25.1 | 28.5
Hypertension | 84.8 | 82.6
Chronic lung disease (COPD) | 15.0 | 18.0
Cerebrovascular disease | 10.2 | 11.8
Peripheral arterial disease | 7.5 | 8.3
There are no significant differences between groups.

## Slide 18: Baseline Cardiac Risk Factors
Mean ± SD or % | TAVR (N=725) | SAVR (N=678)
SYNTAX Score | 1.9 ± 3.7 | 2.1 ± 3.9
Permanent pacemaker, CRT or ICD | 3.2 | 3.8
Prior CABG | 2.5 | 2.1
Previous PCI | 14.2 | 12.8
Previous myocardial infarction | 6.6 | 4.9
Atrial fibrillation/flutter | 15.4 | 14.5
Aortic valve gradient, mm Hg | 47.0 ± 12.1 | 46.6 ± 12.2
Aortic Valve area, cm2 | 0.8 ± 0.2 | 0.8 ± 0.2
Left ventricular ejection fraction, % | 61.7 ± 7.9 | 61.9 ± 7.7
There are no significant differences between groups.

## Slide 19: TAVR Procedural Data
% | TAVR (N=724)
General anesthesia | 56.9
Iliofemoral access | 99.0
Embolic protection device used | 1.2
Pre-TAVR balloon dilation | 34.9
Post-TAVR balloon dilation | 31.3
More than 1 valve used | 1.2
Partial or complete repositioning of the valve (Evolut/PRO only) | 37.3
Staged or concomitant PCI performed | 6.9

## Slide 20
19
Chart: 
Chart: 
Chart: 
PP>0.999
TAVR 5.3%
SAVR 6.7%
Posterior probability of noninferiority > 0.999
TAVR –SAVR difference = -1.4% (95% BCI; -4.9, 2.1)
Primary Endpoint Met
TAVR is noninferior to SAVR
Primary Endpoint
All-Cause Mortality or Disabling Stroke at 2 Years

## Slide 21: Hierarchical Secondary Endpoints
 | TAVR | SAVR | Difference TAVR–SAVR | Posterior Probability
Noninferiority (margin) |  |  | (90% BCI) | 
Mean gradient at 12 months (5 mmHg) | 8.6 ± 3.7 | 11.2 ± 4.9 | -2.6 (-3.1, -2.1) | > 0.999
Mean EOA at 12 months (0.1 cm2) | 2.3 ± 0.7 | 2.0 ± 0.6 | 0.3 (0.2, 0.4) | > 0.999
Mean NYHA class change (12 months –Baseline) (0.375) | 0.9 ± 0.7 | 1.0 ± 0.7 | -0.1 (-0.2, 0.0) | > 0.999
Mean KCCQ change (12 months –Baseline) (5) | 22.2 ± 20.3 | 20.9 ± 21.0 | 1.3 (-1.2, 3.8) | > 0.999
Superiority |  |  | (95% BCI) | 
Mean gradient at 12 months, mmHg | 8.6 ± 3.7 | 11.2 ± 4.9 | -2.6 (-3.2, -2.0) | > 0.999
Mean EOA at 12 months, cm2 | 2.3 ± 0.7 | 2.0 ± 0.6 | 0.3 (0.2, 0.4) | > 0.999
Mean KCCQ change (30 Days–Baseline) | 20.0 ± 21.1 | 9.1 ± 22.3 | 10.9 (8.6, 13.2) | > 0.999
All Noninferiority and Superiority Endpoints Met

## Slide 22: Clinical Outcomes at 30 Days
Bayesian rates as % | TAVR (N=725) | SAVR (N=678) | (95% BCI for Difference)
30-Day composite safety endpoint* | 5.3 | 10.7 | (-8.3, -2.6)
All-cause mortality | 0.5 | 1.3 | (-1.9, 0.2)
Disabling stroke* | 0.5 | 1.7 | (-2.4, -0.2)
Life-threatening or disabling bleeding* | 2.4 | 7.5 | (-7.5, -2.9)
Acute kidney injury, stage 2-3* | 0.9 | 2.8 | (-3.4, -0.5)
Major vascular complication | 3.8 | 3.2 | (-1.4, 2.5)
Atrial fibrillation* | 7.7 | 35.4 | (-31.8, -23.6)
Permanent pacemaker implant* | 17.4 | 6.1 | (8.0, 14.7)
All-cause mortality or disabling stroke* | 0.8 | 2.6 | (-3.2, -0.5)
All stroke | 3.4 | 3.4 | (-1.9, 1.9)
Aortic valve reintervention | 0.4 | 0.4 | (-0.8, 0.7)
* Significantly favors TAVR; * Significantly favors SAVR
BCI = Bayesian credible interval

## Slide 23: Clinical Outcomes at 1 Year
Bayesian rates as % | TAVR (N=725) | SAVR (N=678) | (95% BCI for Difference)
All-cause mortality or disabling stroke | 2.9 | 4.6 | (-4.0, 0.4)
All-cause mortality | 2.4 | 3.0 | (-2.6, 1.3)
Cardiovascular mortality | 1.7 | 2.6 | (-2.7, 0.7)
All stroke | 4.1 | 4.3 | (-2.4, 1.9)
Disabling stroke* | 0.8 | 2.4 | (-3.1, -0.3)
Transient ischemia attack | 1.7 | 1.8 | (-1.6, 1.3)
Myocardial infarction | 1.7 | 1.6 | (-1.3, 1.5)
Endocarditis | 0.2 | 0.4 | (-0.9, 0.5)
Valve thrombosis | 0.2 | 0.3 | (-0.9, 0.5)
Aortic valve reintervention | 0.7 | 0.6 | (-1.0, 0.9)
Heart failure hospitalization* | 3.2 | 6.5 | (-5.9, -1.0)
* Significantly favors TAVR
BCI = Bayesian credible interval

## Slide 24: K-M All-Cause Mortality or Disabling Stroke at 1 Year
23
Chart: 
Death or Disabling Stroke (%)
Months
30 Days 2.5 0.7
1 Year 4.6 2.7
No. at risk
TAVR | 725 | 718 | 648 | 435
SAVR | 678 | 656 | 576 | 366
Log-rank P = 0.065

## Slide 25: K-M Rates of All-Cause Mortality at 1 Year
Chart: 
24
No. at risk
All-Cause Mortality (%)
Months Post Procedure
TAVR | 725 | 720 | 651 | 435
SAVR | 678 | 665 | 583 | 373
30 Days 1.2
0.4
1 Year 3.0
2.3
Log-rank P = 0.412
Notes: This Slide Builds – ok?

## Slide 26: K-M Disabling Stroke at 1 Year
Chart: 
Log-rank P = 0.024
No. at risk
TAVR | 725 | 720 | 648 | 435
SAVR | 678 | 656 | 576 | 366
Months
Disabling Stroke (%)
1 Year 2.3
0.7

## Slide 27
Chart: 
Months
K-M Heart Failure Hospitalization at 1 Year
No. at risk
TAVR | 725 | 712 | 636 | 420
SAVR | 678 | 649 | 561 | 358
Heart Failure Hospitalization (%)
6.4
3.1
Log-rank P = 0.006
1 Year

## Slide 28: Clinical Implications Death, Disabling Stroke and Heart Failure Hospitalizations to 1 Year
Chart: 
| TAVR | SAVR
Death | 0.023 | 0.03
Disabling Stroke | 0.007 | 0.023
HF Hospitalization | 0.03 | 0.064
Estimated KM rates, %
Death
Disabling Stroke
HF Hospitalization
Composite Rates |  | 
TAVR | SAVR | Difference = –4.5%
5.6% | 10.2% | P = 0.002

## Slide 29: Procedural Time and Length of Stay
Chart: 
| TAVR | SAVR
Time in Cath lab or OR, min | 148.2 | 276.6
148.2± 55.1
276.6± 79.5
P<0.001
Chart: 
| TAVR | SAVR
Hospital length of stay, days | 2.6 | 6.2
2.6 ±2.1
6.2± 3.3
P<0.001
Minutes
Days
Time in Cath Lab or OR
Hospital Length of Stay

## Slide 30
Chart: 
| Baseline | 1 Mo | 6 Mo | 12 Mo | 24 Mo
Surgery2 | 0.84 | 2.2 | 2.2 | 2.3 | 2.2
Surgery | 0.9 | 2 | 2 | 2 | 2
TAVR2 | 44.8 | 8.4 | 8.7 | 8.6 | 9
TAVR | 44.2 | 10.5 | 11.2 | 11.2 | 12.3
Valve Hemodynamics
Implanted population. Core lab assessments.
TAVR Statistically Superior At All Time Points

## Slide 31: Prosthesis-Patient Mismatch
Chart: 
| TAVR N=542 | SAVR N=463 | TAVR N=341 | SAVR N=293 | 1 Month | 12 Months
Moderate PPM | 9.9 | 15.5 | 5 | 15.7
Severe PPM | 1.1 | 4.4 | 1.8 | 8.2
Implant population. Core lab assessments.
N = 609
N = 541
P<0.001
P<0.001

## Slide 32
Chart: 
| TAVR N=709 | SAVR N=626 | TAVR N=415 | SAVR N=340 | 1 Month | 1 Year
None/Trace | 0.604 | 0.946 | 0.624 | 0.909
Mild | 0.361 | 0.05 | 0.333 | 0.076
Moderate | 0.032 | 0.003 | 0.041 | 0.015
Severe | 0.003 | 0.002 | 0.002 | 0
Proportion of Patients with Echo (%)
Total Aortic Valve Regurgitation
Implant population. Core lab assessments.
Notes: Add numbers in notes

## Slide 33
Chart: 
| TAVR N=725 | SAVR N=678 | TAVR N=706 | SAVR N=625 | TAVR N=428 | SAVR N=342 | Baseline | 1 Month | 1 Year
NYHA I | 10.5 | 9.3 | 77.2 | 66.6 | 78.5 | 81.6
NYHA II | 64.4 | 62.2 | 21.1 | 28.6 | 19.6 | 17.3
NYHA III | 25 | 28 | 1.7 | 4.6 | 1.6 | 1.2
NYHA IV | 0.1 | 0.4 | 0 | 0.2 | 0.2 | 0
NYHA Functional Class
Proportion of Patients (%)

## Slide 34
 | Change from Baseline |  | 
TAVR | 20.0 ± 21.1 | 21.9 ± 21.2 | 22.2 ± 20.3
SAVR | 9.1 ± 22.3 | 20.5 ± 20.5 | 20.9 ± 20.9
95% BCI for difference | (8.6, 13.2) | (-1.0, 3.8) | (-1.6, 4.3)
Chart: 
| Baseline | 30 Days | 6 Months | 12 Months
TAVR | 68.7 | 88.7 | 90.3 | 90.3
SAVR | 69.3 | 78.6 | 90.3 | 90.8
KCCQ Overall Summary Score
Patients Recover Quality of Life Sooner After TAVR
KCCQ Summary Score

## Slide 35
Subgroup | TAVR | SAVR | Hazard Ratio (95% BCI) |  | P for Interaction
 | n/N (% KM rate at 1 Year) |  |  |  | 
Age, years |  |  |  |  | 0.50
< 75 | 10/351 (3.3) | 14/350 (4.3) | 0.70 (0.31-1.57) |  | 
≥ 75 | 7/374 (2.2) | 13/328 (4.9) | 0.45 (0.18-1.14) |  | 
Sex |  |  |  |  | 0.22
Male | 10/464 (2.5) | 21/449 (5.4) | 0.44 (0.21-0.93) |  | 
Female | 7/261 (3.0) | 6/229 (2.9) | 1.01 (0.34-3.02) |  | 
BMI, kg/m2 |  |  |  |  | 0.98
≤ 30 | 8/366 (2.5) | 13/345 (4.4) | 0.57 (0.24-1.38) |  | 
> 30 | 9/359 (2.9) | 14/333 (4.7) | 0.56 (0.24-1.31) |  | 
LVEF, % |  |  |  |  | 0.28
≤ 50 | 3/56 (7.4) | 2/56 (3.6) | 1.44 (0.24-8.63) |  | 
> 50 | 14/669 (2.3) | 25/621 (4.6) | 0.50 (0.26-0.97) |  | 
0.01
0.1
1.0
10.0
Favors TAVR
Favors SAVR
Subgroup Analysis for Death or Disabling Stroke at 1 Year

## Slide 36
Subgroup | TAVR | SAVR | Hazard Ratio (95% BCI) |  | P for Interaction
 | n/N (% KM rate at 1 Year) |  |  |  | 
Peripheral Artery Disease |  |  |  |  | 0.92
No | 15/664 (2.7) | 25/621 (4.6) | 0.54 (0.29-1.03) |  | 
Yes | 1/54 (1.9) | 2/56 (4.9) | 0.46 (0.04-5.15) |  | 
Diabetes Mellitus |  |  |  |  | 0.81
No | 12/497 (2.8) | 18/471 (4.7) | 0.59 (0.28-1.23) |  | 
Yes | 5/228 (2.3) | 9/207 (4.4) | 0.50 (0.17-1.50) |  | 
Need for Revascularization |  |  |  |  | 0.31
No | 17/640 (3.1) | 24/599 (4.7) | 0.64 (0.34-1.18) |  | 
Yes | 0/85 (0.0) | 3/79 (3.9) | 0.13 (0.00-1.36) |  | 
STS PROM, % |  |  |  |  | 0.99
< 3 | 15/678 (2.5) | 25/650 (4.4) | 0.56 (0.29-1.06) |  | 
≥ 3 | 2/47 (5.3) | 2/28 (7.6) | 0.55 (0.08-3.90) |  | 
0.01
0.1
1.0
10.0
Subgroup Analysis for Death or Disabling Stroke at 1 Year
Favors TAVR
Favors SAVR

## Slide 37: Summary
TAVR with self-expanding supra-annular valves was noninferior to surgery for the primary endpoint of death or disabling stroke at 2 years in patients with severe aortic stenosis at low surgical risk.
At 30 days, TAVR showed a better safety and recovery profile than surgery, with less death or disabling stroke, less disabling stroke, shorter length of stay and better QOL while SAVR had fewer pacemakers implanted and less residual AR.
At 1 year, both groups had excellent survival. TAVR showed fewer disabling strokes and heart failure rehospitalizations with superior hemodynamics manifest by lower gradients, larger EOAs and less PPM.

## Slide 38: Conclusion
TAVR may be a preferred strategy to surgery in patients with severe aortic stenosis at low risk of surgical mortality.

## Slide 40
Thank you to the Evolut Low Risk patients, site personnel, investigators and sponsor for making this and our series of randomized trials possible